## Slide 1: Fiber Optic Network Audit
SUMMARY & RECOMMENDATIONS
Presented by

## Slide 2: Telecommunications Utility Audit
NI Solutions, Inc. (NIS) would like to thank the Mayor, City Council, and the Rochelle Municipal Utilities management team for hiring us to provide the following services:
Conduct an analysis of the existing network
Recommend improvements needed
Make best use of existing infrastructure

## Slide 3: Existing Network Provides
Municipal IT needs
Internet service to all local businesses

## Slide 4: Existing Electronics
Old, obsolete equipment
Current offerings of 5 to 100 Mb/s
  Schools offered faster speeds up to 1 Gb/s
Speeds offered on a shared best effort basis
Service level agreement provides one-hour response time

## Slide 5: Outside Plant
Observed to be in generally good condition
No well-documented or up-to-date splice charts available
No network diagram exists showing which fiber strands are being used for what purpose along with available path

## Slide 6: Current System Challenges
No reconciliation of customer list with active services
Unable to verify customers are being billed properly
Difficult to troubleshoot faults on network

## Slide 7: Recommendations
Replace existing equipment with modern GPON equipment designed for metro service
  Estimated cost to replace: $25,000
Enable better integration with billing systems
Simplify provisioning of new services
Identify potential partners for FTTH

## Slide 8
Questions?